	ALCOHOLTESTING
	[image: image1.jpg]UNITONE





	KEYCHAIN
	
	TA-AT166
	

	
	KEYCHAIN TYPE ALCOHOL BREATH TESTER

	OPERATION MANUAL


	[image: image2.jpg]




	TRONIC ACE TECH INC.


	
	※※ FUNCTIONS ※※
1. Auto check upon turning on the power. 

2. LED indicator ( green ) lights up during operation. 

3. Adjustable warning level ( pre-programmed by factory but not by the user ). 

4. Red LED lights up when detecting alcohol value exceeds or reaches pre-programmed value. 

5. Power Indicator.   

6. Battery Low Indicator. 

※※ APPLICATIONS ※※
For all drinker, especially for all drink-driver
	※※ LOCATIONS OF CONTROL ※※
[image: image3.jpg]



1. Power Indicator ( LED ).

2. Warning Light ( RED ).

3. Battery Low Indicator ( LED ).

4. Alcohol Testing Aperture ( Sensor ).

5. Power Switch.

※※ OPERATIONS ※※
	1. Turn on the unit, the green and yellow lights will turn on. The green light will remain on as a flashlight; The yellow light will turn off when the unit auto check concludes after 12 seconds.

If the red light lights up unexpectedly when you start the unit, you must turn the unit off and on again until this light no longer turnson. This way, the sensor will eliminate the particles that are causing the incidence and it will self-calibrate in the auto check phase.
2. After concluding the auto check, all the lights except the green one (flashlight) will be off. You may now carry out the alcohol test by continuously blowing during at least 5 seconds through the silver grill in the rear part of the device.
3. The red light will turn on if your blood alcohol content exceeds or is equal to 0.5 g/L (TAE 0.25).

	The red light will remain on in direct proportion to the amount of alcohol. You know that you are under 0.5 g/L (TAE 0.25) only when the red light does not turn on.
After concluding the test, turn off the unit its next use. You may carry out approximately 300 tests with 2 AAA size batteries.
※※ WARNING※※
The manufacturer / distributor does not admit responsibility for the use of the device, since this alcohol testing unit should never be used with the aim of carrying out tests validated by the authorities, since these are not legally recognized. The alcohol detector is an instrument of prevention and its results should only be considered as a point of reference.

	1. Do not drive or operate machinery if you suspect or have reason to suspect that your behavior could be affected by alcohol intake, even if the test indicates a level of alcohol under 0.5 g/L (TAE 0.25).

1. If you drive or operate machinery after drinking alcohol, you do so at 

your own risk. There are no express or implicit guarantees in relation to the use of the device.

2. Liability is only limited to the cost of the unit. The guarantee for any production defect has a duration of 6 months from the purchase date of the unit. If the unit is not working, it will be replaced in the same point of sale where it was purchased. Follow these instructions carefully and always keep them handy. 
	※※NOTES ※※
1. When the batteries do not have sufficient power to carry out the test, the yellow auto check light will remain on. Replace the batteries with two new AAA type alkaline batteries.

2. For higher precision, carry out the blowing test at least 10-15 minutes after the last alcohol intake, therefore preventing an excessive alcohol accumulation in your breath that could elevate the quantity of alcohol exhaled. We also recommend waiting 10-15 minutes between each blowing test.
3. The red light may turn on when the unit has not been used during a long period of time (when it is new, for example).


	4. The red light may remain on for several minutes if the alcohol concentration is excessively high when the test is carried out. When this situation occurs, you may shake the unit carefully to ventilate the sensor.
※※ SPECIFICATIONS ※※
1. Efficiency range：0.5 g/ L (TAE 0.25)

2. Tests valid in temperatures between 0℃- 40℃.

3. Size：78㎜ × 40㎜ × 23 ㎜.

4. Weight：Gauged at 0.5 g/ L or TAE 0.25

5. Necessary warm-up time：12 seconds.

Batteries：3VDC (2 × AAA batteries)
TRONIC ACE TECHNOLOGY INC.

http://www.unitone.com.tw

E-MAIL: sales@unitone.com.tw


