	ALCOHOL BREATH TESTING PEN
	[image: image1.jpg]UNITONE





	TA-AT168
	

	
	PEN TYPE ALCOHOL BREATH TESTER

	OPERATION MANUAL


	[image: image2.jpg]




	TRONIC ACE TECH INC.


	
	※※ APPLICATIONS ※※
1. Auto check upon turning on the power. 

2. LED indicator ( green ) lights up during operation. 

3. Adjustable warning level ( pre-programmed by factory but not by the user ). 

4. Red LED lights up when detecting alcohol value exceeds or reaches pre-programmed value. 

5. Power indicator. 

6. UV light ( ultraviolet rays ) strength indicator. 

※※ APPLICATIONS ※※
For all drinker, especially for all drink-driver. 
	※※ LOCATIONS OF CONTROL ※※ 
[image: image3.jpg]- N o <




1. Power ON/OFF.

2. Warm-up LED indicator.

3. Warning LED light.

4. Alcohol Testing Aperture ( Alcohol Sensor ).

5. UV Status Display Board.
	※※ OPERATIONS ※※
1. Press and hold the button to switch “on”. Both LEDs will light up for about 10 seconds and then the Yellow LED will turn off. Begin the test by blowing into the mouthpiece for about 5 seconds. The Green LED will change to Red if the alcohol content exceeds 0.25 mg/L.

2. Stop pressing the button after each test, and to turn the device off. Press the button again to turn it on in order to carry out a second test.

3. If the pen tip (white part) is exposed to sunlight, the white fan-shape will change to the same color as one of the “Weak”, “Medium” or ”Strong” color key sections. This warning color will then remain this color, showing the intensity of ultraviolet rays. When it is removed from direct sunlight the “UV” warning signal will disappear and become white again.

	※※NOTES ※※
1. For a continuous test, please allow a time period of 10 seconds to prevent an incorrect operation of the device due to lingering odors. (the device can be shaken gently to remove any lingering odors)
The yellow LED lights up to show the device is warming up. Carry out 2-3 tests if the following conditions apply：The tester has not been used for a long time. It may cause the Red LED to turn on without blowing. It has been used in an odor-filled or smoke-filled room. It may cause the Red LED to turn on without blowing. Please repeat several “on” and “off” operations to reinforce the yellow LED warning action, until the Red LED goes off as normal and the Pending Test conditions begin.
	2. If there is insufficient battery power to carry out the test . the yellow LED will remain lit after pressing the button; replace the batteries.
3. The place and method of operation may affect the test’s result by up to 5%.
※※ WARNING※※
The manufacturer / distributor does not admit responsibility for the use of the device, since this alcohol testing unit should never be used with the aim of carrying out tests validated by the authorities, since these are not legally recognized. The alcohol detector is an instrument of prevention and its results should only be considered as a point of reference.
	1. Do not drive a car or operate heavy equipment or machinery if you suspect or have reason to suspect that your judgment might even be slightly affected by the intake of alcohol, even if the test indicates a low alcohol level.

2. If you drive or operate any heavy equipment or machinery after drinking alcohol, then you do so entirely at your own risk. There are no express or implied warranties inherent to this product.

3. Your judgment could still be adversely affected even if the tester indicates that your blood level is below the aforementioned level. Alcohol affects people differently. Know your limit.
4. Liability is only limited to the cost of the item. 
	※※ SPECIFICATIONS ※※
1. Test Standard：0.25 mg/L.

(0.05% BAC US, 0.5% BAC UK)

2. Warm-up time：Under 12 seconds.

3. Size：Dia 14 × 116 ㎜.

4. Battery：3VDC (2 × N type batteries).

5. Display：LED light.

TRONIC ACE TECHNOLOGY INC.

TEL: (886 2)22671180

FAX: (886 2)29122889

http://www.unitone.com.tw

E-MAIL: sales@unitone.com.tw



